Hessler J and Lehner N. eds. 2009. Planning and Designing Research Animal Facilities, Elsevier Academic Press, San Diego, CA

Chapter 27 Introduction to Specifications: General Considerations and Division 1, pp. 379 - 384

QUESTIONS:

1.	What are the words that describe all aspects of a building projects called as?

a.	Drawings

b.	Specifications

2.	All aspects of all elements of the building should be known to

a.	The facility director only

b.	Veterinary professional only

c.	Both the facility director and Veterinary professional.

3.	True or False:  Drawings contain general information of a building project and the Specifications contain most specific information of the project

4.	In US most construction firms adhere to the guidelines of

a. 	Construction Institute of America

b.	Construction Specification Institute

c.	Both

5.  	The recommended number of divisions of specifications by CSI before 2004 is

a.	15

b.	16

c.	17

6.	The number of divisions of specifications recommended by CSI after 2004 is

a.	16

b.	28

c.	48

7.	The structure of most of specification sections are made in a

a.	Two-part format

b.	Three-part format

8.	What are the structural parts of the specification sections?

a.	General

b.	Products

c.	Execution

d.	All the above

9.	What does the General part of the Specification section deals with?

a.	Administrative and procedural items relating to the specified products

b.	Everything about the products that are the focus of the specification

c.	All the above

10. 	What are the documents that the contractor should submit for review by the architect, engineer or owner for the specification section?

a.	Product data

b.	Sample parts and assemblies

c.	Shop drawings

d.	Test data to prove compliance with referenced standards

e.	Final closeout submittals.

f.	All the above.

11.	The quality assurance item of the General part of specification section describes

a.	The requirements of both the manufacturer’s qualifications and also that of the installer

b.	The requirements for mock-ups

c.	The required test certifications and regulatory compliances.

d.	All the above

12.	The cautions associated with protection of the products or equipments during the course of delivery, storage before installation and all handling during the construction is described in item

a.	Quality assurance

b.	Delivery, storage and Handling

c.	Project and site conditions

13.	The subsection of “Manufacturers” in the part “Products” of specification section describes

a.	The list of approved manufacturers of the product specified

b.	The list of all manufacturers of the product specified

c.	None of the above

14.	True or False:  The details of the manufactured unit, Equipment, Components, Accessories, Mixes, Fabrication, Finishes and Source Quality control form an important subsection in the part “Products” of specification section

15.	The specific requirement of the construction site prior to installation of the product is stated in the subsection titled

a.	Preparation

b.	Examination or Inspection

c.	Installation

16.	The details of certification testing of fume hoods, biological safety cabinets, mortuary equipment, cold rooms, cage-washing equipment, sterilizers and other performance based equipment and systems are to be mentioned in the subsection

a.	Quality control

b.	Examination or Inspection

c.	Installation

17.	The performance-based specifications are written for

a.	Products like concrete, bricks, pipe materials, doors

b.	Final finishes, key engineering systems, critical equipments

c.	All the above

18.	True or False:  The Division 1, General Requirements of the project deals with the administrative process and not about products

Write Short answers:

19.	What are the specifications of the Division 1, General Requirements of the 	project?

ANSWERS:

1.	Specifications

2. 	Both the facility director and veterinary professional.

3.	True

4.	Construction Specification Institute

5.	16

6.	48

7.	Three-part format

8.	All the above

9.	Administrative and procedural items relating to the specified products

10.	All the above

11.	All the above

12.	Delivery, storage and Handling

13.	The list of approved manufacturers of the product specified

14.	True

15.	Examination or Inspection

16.	Quality Control

17.	Products like concrete, bricks, pipe materials, doors

18.	True

19. Answer:

01100: Summary of work

01200: Price and Payment procedures

01300: Administrative requirements

01400: Quality requirements

01500: Temporary Facilities and Controls

01600: Product requirements

01700: Execution and closeout requirements

01800: Performance requirements

01900: Life cycle activities.