Good Laboratory Practice for Nonclinical Laboratory Studies

Code of Federal Regulations 21 Part 58

- Which Act passed by Congress is referenced as part of GLPs?

- Any food additive, drug, biological product, electronic product, medical device for human use, and any other material being tested is referred to in CFR 21 Part 58 as a:

  - Test Material

  - Test Article

  - Test Substance

  - Test System

- Field trials in animals are considered part of nonclinical laboratory studies.  T or F.

- A testing facility cannot be considered a Sponsor.  T or F.

- An animal, plant, microorganism, or subpart thereof receiving the answer to Question # 2 is called the:

  - Test Material

  - Test Article

  - Test Substance

  - Test System

- In the event that the exact transcripts of raw data have been prepared (e.g. tapes) the exact copy or exact transcript may be substituted for the original source as raw data.  T or F.

- Photographs are not considered raw data.  T or F.

- Study Directors can be a part of the quality assurance unit.  T or F.

- The individual responsible for the overall conduct of a nonclinical laboratory study is the:

  - Study Coordinator

  - Lead Technician

  - Facility Scientific Director

  - Study Director

- Testing facilities may be unexpectedly be inspected by which governmental agency which will look specifically at records supporting an application for a research or marketing permit.

  - USDA

  - EPA

  - FDA

  - ISO

- The experience of individuals engaged in the conduct of a nonclinical laboratory study must be documented and maintained by the testing facility.  T or F.

- Individuals with illnesses should be allowed to work on nonclinical laboratory studies, as their participation may not affect the study.  T or F.

- Study Directors can be placed on a study after study initiation.  T or F.

- Raw data is automatically given to a Sponsor at the completion of a study.  T or F.

- Only the Study Director, and not the quality assurance unit, shall insect each nonclinical laboratory study at intervals adequate to assure the integrity of the study.

- Under the GLPs, testing facilities are required to have enough animal rooms to allow for the separation of __________ or test ____________.

- Food and bedding storage areas need to be _______  areas housing animals.

  - Adjacent to

  - Separate

  - Within

- SOP stands for what?

- Deviations from SOPs are to be authorized by whom?

  - The Study Director

  - The Study Sponsor

  - The Testing Facility

  - The Quality Assurance Unite

- SOPs are needed for which item?

  - Animal Care

  - Animal Room Preparation

  - Handling animals found moribund or dead as well as necropsy

  - All of the Above

- Animals received for GLP studies do not need time for isolation and health status evaluation, they can be used immediately upon receipt. T or F.

- Which animals do not need identification?

  - Adult mice

  - Guinea Pigs

  - Suckling Rodents

  - Farm animals

- What two items need to be analyzed periodically for contaminants known to be capable of interfering with studies?

  - Flooring materials

  - Paint

  - Animal feed and water

  - Caging material

- Pest control materials used within the facility do not need to be documented.  T or F.

- Which of the following animal related items do not need to be identified in a GLP protocol?

  - Coat color

  - Body weight ranges

  - Supplier

  - Species and strain/substrain

- Which entries are legal for raw data documentation, pencil or ink?

- Wet specimens such as blood, urine, feces, and biological fluids do not need to be maintained after the completion of a GLP study.  T or F.

- Raw data must be maintained for a period of ___ years following the date on which an application for the research or marketing permit for which the nonclinical laboratory study was done, and ____ years following the data on which the results of the study were submitted in support for the application for a research or marketing permit

  - 3, 5

  - 4, 5

  - 5, 5

  - 2, 5

- Training records are to be maintained at the same time intervals as in question #28. T or F

Answers

- Federal Food, Drug, and Cosmetic Act, as amended

- B

- F

- F – A testing facility can be considered a Sponsor if it both initiates and actually conducts the study.

- D

- T

- F

- F

- D

- C

- T

- F

- F

- F

- F

- Species or test systems

- B

- Standard Operating Procedure

- A

- D

- F

- C

- C

- F

- A

- Ink

- T

- D

- T