Guide for the Care and Use of Laboratory Animals. 8th edition. National Research Council. National Academies Press, Washington DC. 2011

Chapter 5 Physical Plant, pp. 133-154

QUESTIONS:

1.	Which of the following is FALSE about centralization?

a.	reduces the need for transporting animals between sites

b.	affords greater security

c.	decreases the ease of monitoring staff and animals

d.	all of the above are true

2.	Decentralization may be preferred for which of the following?

a.	imaging

b.	quarantine

c.	biosecurity reasons

d.	all of the above

3.	How wide should corridors be?

a.	1 to 3 feet

b.	3 to 6 feet

c.	6 to 8 feet

d.	10 to 12 feet

4.	How large should doors be?

a.	12 x 24 in

b.	24 x 48 in

c.	36 x 72 in

d.	42 x 84 in

5.	Red-tinted windows have proved useful for which of the following species?

a.	mice and rats

b.	dogs and cats

c.	rabbits and NHPs

d.	dogs and NHPs

6.	Drainpipes should be at least ____ in. in diameter.

a.	2

b.	3

c.	4

d.	5

7.	What size drainpipes are recommended for areas such as dog kennels and

agricultural facilities?

a.	≥ 3 in.

b.	≥ 4 in.

c.	≥ 5 in.

d.	≥ 6 in.

8.	Floor drains ________ essential in all animal rooms.

a.	are

b.	are not

9.	Which of the following areas should be kept under relatively positive pressure?

a.	quarantine

b.	surgery

c.	NHP housing

d.	housing of animals exposed to hazardous materials

10.	HVAC systems should ideally maintain dry bulb temperatures of _____ °C.

a.	± 1

b.	± 2

c.	± 3

d.	± 4

11.	Relative humidity should generally be maintained within a range of ________ %.

a.	10 - 20

b.	20 - 40

c.	30 - 70

d.	70 – 100

12.	Ideally relative humidity should be maintained with   ______% of set point.

a.	± 5

b.	± 10

c.	± 15

d.	± 20

13.	Refrigerated storage should be kept below ______°C.

a.	7

b.	9

c.	11

d.	12

14.	___________ require the use of cryogens; rooms with these devices must be equipped with oxygen sensors and a method for increasing room ventilation to exhaust inert gases during cryogen filling.

a.	X ray machines

b.	gamma irradiators

c.	magnetic resonance scanners

d.	all of the above

15.	Which of the following best describes ABSL-3?

a.	contains agents not known to cause human infection

b.	contains agents of moderate risk that cause human disease by ingestion,

percutaneous, or mucosal exposure

c.	contains agents that cause serious and potentially lethal infections and

have known potential for aerosol transmission

d.	contains exotic agents that pose high individual risk of life-threatening

disease and for which there is no available vaccine or treatment

16. Which of the following best describes ABSL-2?

a.	contains agents not known to cause human infection

b.	contains agents of moderate risk that cause human disease by ingestion,

percutaneous, or mucosal exposure

c.	contains agents that cause serious and potentially lethal infections and

have known potential for aerosol transmission

d.	contains exotic agents that pose high individual risk of life-threatening

disease and for which there is no available vaccine or treatment

17.	Facilities which use biologic agents and toxins that pose a threat to animal and plant health or public health and safety must adhere to _______ Select Agent Regulations.

a.	APHIS

b.	USDA

c.	CDC

d.	all of the above

ANSWERS:

1.	c; increases the ease of monitoring staff and animals

2. 	d

3.	c

4.	d

5.	a; limited ability to detect light in the red portions of the spectrum

6.	c

7.	d

8.	are not; particularly those housing rodents

9.	b; rest should be kept under relatively negative pressure

10.	a (± 2°F)

11.	c

12.	b

13.	a

14.	c; cryogen boil off can lead to asphyxiation of both personnel and animals

15.	c

16.	b

17.	d