# Laboratory Animal Medicine.  2nd ed.  2002.  Chapter 24 - Control of Biohazards Associated with the Use of Experimental Animals

pp. 1047-1056

# Questions

- Which law requires employers to provide safe working conditions and empowers OSHA to promulgate standards?

- What is the first stage in any biohazard control program?

- By which route are most laboratory infections (with pathogenic agents) acquired?

- Which particles are more likely to be inhaled – small or large?

- What is the principle device to contain biohazards?

- Which class of biosafety cabinet should not be used for handling research materials that are vulnerable to airborne contaminants?

- Which type of class II cabinets is appropriate for microbiological research involving volatile or toxic chemicals or radionuclides?

- What are the subtypes of the type of cabinet mentioned in question 7?

- Describe class III cabinets

- List some standard microbiological practices.

- Define PPE

- How often must an eyewash station be tested?

- What can be built in an animal facility to decrease autoclave odors?

- What information should be listed on biohazard signs?

- Institutions that receive NIH support and conduct any type of recombinant DNA work must have an Institutional Biosafety Committee composed of how many members?

- Up to 56% of animal care workers are affected by which health hazard?

- Tetanus toxoid injections are encouraged to be given at what intervals?

- This chapter uses the former name of “Herpes B.” What are the former and present names?

- Name some zoonotic diseases that can produce teratogenic or abortifacient effects in pregnant women. Which two are the most important for pregnant women?

- Who is responsible for presenting in the protocol about any biohazards that will be used, including radioisotopes, viable organisms, carcinogens, transplantable tumors, tissue, sera, recombinant DNA?

# Answers

- The Occupational Safety and health Act of 1970

- To conduct a risk assessment

- Aerosol

- Small particles remain airborne longer, are more likely to move with air currents, and are more likely to be respirable.

- The biosafety cabinet

- Class I provides no product protection

- Type B

- Subtypes B1, B2, B3

- Totally enclosed, ventilated, and gas tight

- Wash hands thoroughly after handling animals or cultures, avoid eating, drinking, smoking, inserting contact lenses, applying cosmetics, taking medicines, touching nose, mouth eyes.

- Personal protective equipment

- Monthly

- High-volume exhaust hoods that completely cover the swing area of both doors and airlocks between an autoclave and the surrounding areas.

- The agent, investigator, room supervisor, emergency phone numbers, special requirements for entering

- At least 5 members who have experience and expertise in recombinant DNA technology. (At least 2 must be unaffiliated members)

- Animal contact allergies

- At 10 year intervals.

- Former name: Herpesvirus simiae. Present name: Cercopithecine herpesvirus I.

- Brucellosis, tuberculosis, cryptococcosis, listeriosis, lymphocytic choriomeningitis, Q fever, toxoplasmosis, Venezuelan equine encephalitis. Listeriosis and toxoplasmosis.

- The principal investigator